

|  |
| --- |
| Housekeeping LogAnimal Experimentation |

|  |  |  |  |
| --- | --- | --- | --- |
|  |

|  |
| --- |
| With respect to research involving animals within the CFMM, the checklists below are to ensure laboratory compliance regarding housekeeping as recommended by Western University’s Animal Care Committee.Researchers are required to clean up after themselves following an MRI scan and/or use of the animal preparation room. |
|  |

  |

|  |
| --- |
| Weekly Checklist (9.4 T MRI Area): |
| Completed / By (initials):  | Date Completed: (DD-MM-YYYY) | Description of task:  |
| [ ]  /       |       | LAUNDRY – wash all used blankets, towels, mop head (if necessary) |
| [ ]  /       |       | ALCOHOL – refill as necessary |
| [ ]  /       |       | QUATO 78 PLUS – Make up new solution weekly |
| [ ]  /       |       | FLOORS – sweep, mop, flush drains |
| [ ]  /       |       | CLIPPERS – clean out blade with small brush; spray with Clippercide, wipe clean; oil blades while running |
| [ ]  /       |       | INVENTORY CHECK – review inventory, add items needed to order list, restock bins, paper towel, etc |
| [ ]  /       |       | GENERAL CLEANING – spray down/dust all countertops, including control room – dust coffee tables, couch, etc |
| [ ]  /       |       | OXYGEN/MED AIR – check tank levels, order new tanks |
| [ ]  /       |       | CHARCOAL CANISTERS – weigh & replace charcoal if necessary |
| [ ]  /       |       | SINKS – scrub with Ajax/Comet when necessary |
| [ ]  /       |       | NOSECONES – re-latex if necessary |
| [ ]  /       |       | BIOHAZARD BIN & SHARPS – remove full containers and replace if necessary, biohazard - deliver to basement |

|  |
| --- |
| Weekly Checklist (3T/7T T MRI Area): |
| Completed / By (initials):  | Date Completed: (DD-MM-YYYY) | Description of task:  |
| [ ]  /       |       | SURFACES - wipe down all surfaces that have been in contact with animals |
| [ ]  /       |       | FLOORS – mop as required |
| [ ]  /       |       | GARBAGE – remove all garbage as necessary  |
| [ ]  /       |       | BIOHAZARD MATERIALS – remove and return to housing facility for further disposal |
| [ ]  /       |       | CHARCOAL CANISTERS – weigh before use & replace if necessary |